GENERATION UNIT DATA, USER SYSTEM DATA, DETAILED GENERATION UNIT DATA, AND DETAILED USER SYSTEM DATA

SOLAR POWER GENERATOR

A. BASIC INFORMATION

| GRID USER |  |
| --- | --- |
| 1. Power Plant Name |  |
| 2. Company Name |  |
| 3. Office Address |  |
| 4. Main Contact Person |  |
| 5. Position |  |
| 6. Contact Numbers |  |
| 7. Email Address |  |
| 8. Power Plant Location |  |
| - Street |  |
| - Sitio |  |
| - Barangay |  |
| - Province |  |
| - Location Map | Please attach a geographic map showing the coordinates of the power plant site. |

B. GENERATOR / MACHINE DATA

| STANDARD PLANNING DATA | VALUE |
| --- | --- |
| - In-Service Date (Commissioning) |  |
| - Inverter Manufacturer & Model |  |
| - Solar Panel Technology |  |
| - Total Plant Capacity |  |
| - Total Installed Capacity, kW (Total rating of all installed solar panels) |  |
| - Number of units and unit size |  |
| - Inverter Power Rating, (kW) |  |
| 5. PVS Transformer data |  |
| - Transformer Voltage Ratio |  |
| - Percentage Impedance |  |
| - Winding Connection |  |
| - Tap Settings |  |
| - Normal station service consumption |  |
| 6. Number of Individual Generator Units (if composed of several machines) |  |
| 7. Rated Terminal Voltage (kV) |  |
| 8. Frequency Withstand Capability (Hz) |  |
| 9. Rated Speed (rpm) |  |

| DETAILED PLANNING DATA Check below the corresponding machine model. If other models are to be used, please provide corresponding Machine Data. |  |  |  |
| --- | --- | --- | --- |
| Generator | Electrical | Pitch Control | Aerodynamic |
| PVGU1 Other Model: ________________ (please specify) | PVEU1 Other Model: _________________ (please specify) | IRRADU1 Other Model: _________________ (please specify) | Other Model: _______________ (please specify) |

| SOLAR GENERATOR ELECTRICAL DATA PARAMETERS From the above-checked model, fill-out the corresponding solar electrical data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Filter time constant in voltage regulator, Tw (sec) |  |
| - Proportional gain in voltage regulator, Kpv (p.u.) |  |
| - Integrator gain in voltage regulator, Kiv (p.u.) |  |
| - Proportional gain in torque regulator, Kpp (p.u.) |  |
| - Rate feedback gain, Kf (p.u.) |  |
| - Rate feedback time constant, Tf (p.u.) |  |
| - Maximum limit in voltage regulator, Qmx (p.u.) |  |
| - Minimum limit in voltage regulator, Qmn (p.u.) |  |
| - Maximum active current limit, IPmax (p.u.) |  |
| - Voltage sensor time constant, Trv (sec) |  |
| - Maximum power order rate, dPMX (p.u.) |  |
| - Minimum power order rate, dPMN (p.u.) |  |
| - Power reference filter time constant, Tpower (sec) |  |
| - Volt/MVar gain, KQi |  |
| - Minimum voltage limit, Vmincl |  |
| - Maximum voltage limit, Vmaxcl |  |
| - Int. Volt/Term. Voltage gain KVi |  |
| - Lag in Windvar controller (sec), Tv |  |
| - Converter current limit, ImaxTD (p.u.) |  |
| - Hard active current limit, Iphl (p.u.) |  |
| - Hard reactive current limit, Iqhl (p.u.) |  |
| - Maximum power from PV plant, PMX (MW) |  |

| GENERATING UNIT PARAMETERS From the above-checked generator model, fill-out the corresponding solar generator data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Solar Panel Data |  |
| - Solar Panel Manufacturer |  |
| - Rated Power per Solar Panel (KW) |  |
| - Solar Power Technology |  |
| - Grid Inverter Data |  |
| - Rated Apparent Power (KVA) |  |
| - Frequency Tolerance Range |  |
| - Width (mm) |  |
| - Height (mm) |  |
| - Area (M2) |  |
| - Rated Voltage (Volt) |  |
| - Rated Current (Ampere) |  |
| - Watts per square meter |  |
| - Efficiency, % |  |
| - Dynamic Model of the PVS |  |
| - Reactive Compensation |  |
| - PVS Configuration |  |
| - Converter time constant for IQcmd, (second) |  |
| - Converter time constant for IPcmd, (second) |  |
| - Low voltage power logic (LVPL) voltage 1, VLPL1 (p.u.) |  |
| - LVPL voltage 2, VLPL2 (p.u.) |  |
| - GLVPL gain |  |
| - High voltage reactive current (HVRC) logic voltage, VHVRCR (p.u.) |  |
| - Maximum reactive current at VHVRCR, CURHVRCR (p.u.) |  |
| - Rate of LVACR active current change, Rip_LVPL |  |
| - Voltage sensor for LVACR time constants, T_LVPL |  |

| SOLAR GENERATOR PITCH CONTROL DATA PARAMETERS From the above-checked model, fill-out the corresponding pitch control data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Time of first data point, TIME1 (sec) |  |
| - Irradiance at first data point, IRRADIANCE1 (W/m2.) |  |
| - Time of second data point, TIME2 (sec) |  |
| - Irradiance at second data point, IRRADIANCE2 (W/m2.) |  |
| - Time of third data point, TIME3 (sec) |  |
| - Irradiance at third data point, IRRADIANCE3 (W/m2.) |  |
| - Time of fourth data point, TIME4 (sec) |  |
| - Irradiance at fourth data point, IRRADIANCE4 (W/m2.) |  |
| - Time of fifth data point, TIME5(sec) |  |
| - Irradiance at fifth data point, IRRADIANCE5 (W/m2.) |  |
| - Time of sixth data point, TIME6 (sec) |  |
| - Irradiance at sixth data point, IRRADIANCE6 (W/m2.) |  |
| - Time of seventh data point, TIME7 (sec) |  |
| - Irradiance at seventh data point, IRRADIANCE7 (W/m2.) |  |
| - Time of eighth data point, TIME8 (sec) |  |
| - Irradiance at eighth data point, IRRADIANCE8 (W/m2.) |  |
| - Time of ninth data point, TIME9 (sec) |  |
| - Irradiance at ninth data point, IRRADIANCE9 (W/m2.) |  |
| - Time of tenth data point, TIME10 (sec) |  |
| - Irradiance at tenth data point, IRRADIANCE10 (W/m2.) |  |

| Generator Model | Insert equivalent standard model that represents the generator model User Written Model Other Standard Model Provide a block diagram suitable for stability studies or an IEEE standard model type with all in-service parameter values for the generator. |
| --- | --- |

| GENERATOR TRANSFORMER DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Substation Name |  |  |  | - Status |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Rated Capacity |  |  |  | - Model type |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Transformation Voltage (kV) |  |  |  | - Serial Number |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Vector Group |  |  |  | - Rated Frequency |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - No. of Taps |  |  |  | - Power Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - % Adjust per Tap |  |  |  | - Voltage Ratio |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - % Impedance at Rated load & Voltage |  |  |  | - Configuration (e.g. 3 Phase or Three Single Phase) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Manufacturer |  |  |  | - Temperature Rise (ᵒC) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Year of commissioning |  |  |  | - Connection for each winding H,X,Y (e.g. Wye, Delta, Zigzag) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Positive Sequence Impedance | (See IEEE C57.12.90 for measurement techniques) | Positive Sequence Impedance (%) | HX |  |  |  | HY |  |  |  |  |  |  |  | XY |  |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Zero Sequence Impedance (Data is required for transformers with 1 or 2 external neutrals) | H winding energized all others open | Closed Tertiary | H |  |  | X |  |  | HX |  |  |  |  |  |  | XH |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | H winding energized X winding shorted | Open Tertiary | H |  |  | X |  |  | HX |  |  |  |  |  |  | XH |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | In-Service Off-Load Tap (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Off –Load Taps (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | On-Load Taps (kV) (Max Tap, Min Tap, Number of Steps) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Core and Excitation Losses (kW, kVAr) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHARACTERISTIC DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Open circuit saturation curve |  |  |  |  |  |  |  |  |  |  |  | Attach File |  |  |  |  |  |
| 2. Short circuit curve |  |  |  |  |  |  |  |  |  |  |  | Attach File |  |  |  |  |  |
| 3. V curves |  |  |  |  |  |  |  |  |  |  |  | Attach File |  |  |  |  |  |
| 4. Reactive Power Capability curve |  |  |  |  |  |  |  |  |  |  |  | Attach File |  |  |  |  |  |
| 5. Ramping Capability Curve |  |  |  |  |  |  |  |  |  |  |  | Attach File |  |  |  |  |  |
| 6. Short Circuit and Open Circuit Characteristic Curve |  |  |  |  |  |  |  |  |  |  |  | Attach File |  |  |  |  |  |

| PLANT FLEXIBILITY PERFORMANCE DATA (FOR EACH GENERATING PLANTS) |  |
| --- | --- |
| - Rate of loading following weekend shutdown (Generating Unit and Generating Plant) |  |
| - Rate of loading following an overnight shutdown (Generating Unit and Generating Plant) |  |
| - Block Load following synchronization |  |
| - Rate of Load Reduction from normal rated MW |  |
| - Regulating range |  |
| - Load rejection capability while still synchronized and able to supply Load. |  |

| AUXILIARY DEMAND DATA |  |
| --- | --- |
| - Rated Normal unit-supplied auxiliary Load for each Generating Unit at rated MW output |  |
| - Each Generating Plant Auxiliary Load other than (a) above and where the station auxiliary Load is supplied from the Grid. |  |
| Please attach the following: |  |
| - Physical Layout |  |
| - Electrical Layout |  |
| - Specifications |  |
| - Protections |  |

CONNECTION SCHEME

Provide a single line diagram of the connection scheme showing the details of the main connection facilities: - NGCP facility where connection of power plant will be made - Length of the connection line including the type of conductor and structure used - MVA Rating of the transformers - MVAR Rating of Shunt Capacitors or Shunt Reactors, if any

C. SUBSTATION AND TRANSMISSION FACILITY

Line Information

| Line Name | Operating Voltage Level (kV) | Length (km) | Type of conductor |  | Actual Rating (MVA) |  |  |  | Year of Commissioning | Age (Year) | Connected Generator /Load |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | No. of Bundles | Conductor size |  | R | X | B |  |  |  |

Line Structure Information

| Number | Type | Coordinates |
| --- | --- | --- |

Power Circuit Breaker

| Substation Name | System Voltage (kV) | Type (Live Tank or Dead Tank) | Continuous Rating (A) | Breaker Interrupting Capacity (kA) | Manufacturer | Year of Commissioning | Age (Year) |
| --- | --- | --- | --- | --- | --- | --- | --- |

Reactive Compensation Equipment

| Substation Name | Rated Voltage (kV) | Rated Capacity (MVAr) | Manufacturer | Year of Commissioning | Age (year) | Status |
| --- | --- | --- | --- | --- | --- | --- |