GENERATION UNIT DATA, USER SYSTEM DATA, DETAILED GENERATION UNIT DATA, AND DETAILED USER SYSTEM DATA

WIND TURBINE GENERATOR

A. BASIC INFORMATION

| GRID USER |  |
| --- | --- |
| 1. Power Plant Name |  |
| 2. Company Name |  |
| 3. Office Address |  |
| 4. Main Contact Person |  |
| 5. Position |  |
| 6. Contact Numbers |  |
| 7. Email Address |  |
| 8. Power Plant Location |  |
| - Street |  |
| - Sitio |  |
| - Barangay |  |
| - Province |  |
| - Location Map | Please attach a geographic map showing the coordinates of the power plant site. |

B. GENERATOR / MACHINE DATA

| STANDARD PLANNING DATA | VALUE |
| --- | --- |
| - In-Service Date (Commissioning) |  |
| - Manufacturer: |  |
| - Wind Farm Capacity |  |
| - Total Installed Capacity |  |
| - Number of Units and Unit size |  |
| - Wind Farm Type |  |
| - Type of Wind Turbine (fixed speed or variable speed) |  |
| - Type of Wind Farm Operation (continuous or seasonal) |  |
| - Total Plant Capability |  |
| - Total VRE Installed Capacity |  |
| - Number of units and unit size |  |
| - Rated power of each wind turbine (kW) |  |
| 4. Wind Turbine Generator Type |  |
| 5. Individual Plant Rated Capability (MVA) |  |
| - Rated Apparent Power (kVA) |  |
| - Rated Frequency (Hz) |  |
| - Frequency tolerance range (Hz) |  |
| - Rated wind speed (m/s) |  |
| - Cut-in wind speed (m/s) |  |
| - Cut-off wind speed (m/s) |  |
| - Rated voltage (Volt) |  |
| - Rated current (Ampere) |  |
| - Short circuit ratio |  |
| - Synchronous speed (rpm) |  |
| - Normal station service consumption |  |
| 6. Rated Terminal Voltage (kV) |  |
| 7. Frequency Withstand Capability (Hz) |  |

| DETAILED PLANNING DATA Check below the corresponding machine model. If other models are to be used, please provide corresponding Machine Data. |  |  |  |
| --- | --- | --- | --- |
| Generator | Electrical | Pitch Control | Aerodynamic |
| WT1G1 WT2G1 WT3G1 WT3G2U WT4G1 W4G2U Other Model: ________________ (please specify) | WT2E1 WT3E1 WT4E1 W4E2U: Other Model: _________________ (please specify) | WT3P1 Other Model: _________________ (please specify) | WT12A1 Other Model: _________________ (please specify) |

| GENERATING UNIT PARAMETERS From the above-checked generator model, fill-out the corresponding machine data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Wind Farm Detailed Generator Data |  |
| - Additional information for each wind farm |  |
| - Dynamic Model | *.dyr |
| - Reactive Compensation |  |
| - Wind Turbine Transformer Data |  |
| - Transformer Data |  |
| - Wind Turbine Generating Unit of Wind Farm |  |
| - Magnetizing Reactance of Generator |  |
| - Stator leakage reactance |  |
| - Stator reactance |  |
| - Rotor leakage reactance |  |
| - Rotor reactance |  |
| - Magnitude of inrush current |  |
| - Time duration of inrush currents |  |
| - Open circuit transient time constant, T (>0) (sec) |  |
| - Open circuit subtransient time constant, T” (>0) (sec) If T” = 0, single cage |  |
| - Synchronous reactance, X (p.u.) |  |
| - Transient reactance, X’ (p.u.) |  |
| - Subtransient reactance, X” (p.u.) (>0) If X” = 0, single cage |  |
| - Leakage reactance, Xl (p.u.) |  |
| - First saturation coordinate, E1 |  |
| - First Saturation factor, S(E1) |  |
| - Second saturation coordinate, E2 |  |
| - Second saturation coordinate factor, S(E2) |  |
| - Stator reactance, XA (p.u.) |  |
| - Magnetizing reactance, XM (p.u.) |  |
| - Rotor reactance, X1 (p.u.) |  |
| - Rotor resistance, R_ROT_MACH (p.u.) |  |
| - A sum of R_ROT_MACH and total external resistance, R_ROT_MAX (p.u.) |  |
| - First of 5 coordinate pairs of the power-slip curve, POWER_REF_1 |  |
| - POWER_REF_2 |  |
| - POWER_REF_3 |  |
| - POWER_REF_4 |  |
| - POWER_REF_5 |  |
| - SLIP_1 |  |
| - SLIP_2 |  |
| - SLIP_3 |  |
| - SLIP_4 |  |
| - SLIP_5 |  |
| - Equivalent reactance of current injection, Xeq (p.u.) |  |
| - PLL first integration gain, Kpll |  |
| - PLL second integration gain, Kipll |  |
| - PLL maximum limit, Pllmax |  |
| - Turbine MW rating, Prated |  |
| - Converter time constant for IQcmd, Tiqcmd |  |
| - Converter time constant for IPcmd, Tipcmd |  |
| - LVPL voltage 1 low voltage power logic, VLVPL1 |  |
| - LVPL voltage 2, VLVPL2 |  |
| - LVPL gain, GLVPL |  |
| - High voltage reactive current (HVRC) logic, VHVRCR (p.u.) voltage |  |
| - HVRC logic current, CURHVRCR (p.u.) |  |
| - Rate of active current change, Rlp_LVPL |  |
| - Voltage sensor for LVPL, TLVPL (sec) |  |

| WIND ELECTRICAL DATA PARAMETERS From the above-checked model, fill-out the corresponding wind pitch control data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Rotor speed filter time constant, TSP (sec) |  |
| - Power filter time constant, TPE (sec) |  |
| - PI-controller integrator time constant, Ti (sec) |  |
| - PI-controller proportional gain, KP (p.u.) |  |
| - Output MAX limit, ROTRV_MAX |  |
| - Output MIN limit, ROTRV_MIN |  |
| - Filter time constant in voltage regulator, Tfv (sec) |  |
| - Proportional gain in voltage regulator, KPV (p.u.) |  |
| - Integrator gain in voltage regulator, KIV (p.u.) |  |
| - Line drop compensation reactance, Xc (p.u.) |  |
| - Filter time constant in torque regulator, TFP (sec) |  |
| - Proportional gain in torque regulator, KPP (p.u.) |  |
| - Integrator gain in torque regulator, KIP (p.u.) |  |
| - Max. limit in torque regulator, PMX(p.u.) |  |
| - Min. limit in torque regulator, PMN (p.u.) |  |
| - Max. limit in voltage regulator, QMX(p.u.) |  |
| - Min. limit in voltage regulator, QMN (p.u.) |  |
| - Max. active current limit, IPMAX |  |
| - Voltage sensor time constant, TRV |  |
| - Max. power order derivative, RPMX |  |
| - Min. power order derivative RPMN |  |
| - Power filter time constant, T_Power |  |
| - MVAR/Voltage gain, Kqi |  |
| - Min. Voltage limit, VMINCL |  |
| - Max. Voltage limit, VMAXCL |  |
| - Voltage/MVAR gain, Kqv |  |
| - XIQmin |  |
| - XIQmax |  |
| - Lag time constant in WindVar controller, TV |  |
| - Pelec filter in fast PF controller, TP |  |
| - A portion of online wind turbines, Fn |  |
| - Shaft speed at Pmin, (p.u) |  |
| - Shaft speed at 20% rated power, ѡP20(p.u.) |  |
| - Shaft speed at 40% rated power, ѡP40 (p.u.) |  |
| - Shaft speed at 60% rated power, ѡP60 (p.u.) |  |
| - Minimum power for operating at ѡP100 speed (p.u.) |  |
| - Shaft speed at 100% rated power, ѡP100 (p.u.) |  |

| WIND PITCH CONTROL DATA PARAMETERS From the above-checked model, fill-out the corresponding wind pitch control data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Blade response time constant, Tp |  |
| - Proportional gain of PI regulator, Kpp (p.u.) |  |
| - Integrator gain of PI regulator, Kip (p.u.) |  |
| - Proportional gain of the compensator, Kpc (p.u.) |  |
| - Integrator gain of the compensator, Kic (p.u.) |  |
| - Lower pitch angle limit, TetaMin (degrees) |  |
| - Upper pitch angle limit, TetaMax (degrees) |  |
| - Upper pitch angle rate limit, RTetaMax (degress/sec) |  |
| - Power reference, PMX (p.u.) on MBASE |  |

| WIND AERODYNAMIC DATA PARAMETERS From the above-checked model, fill-out the corresponding wind aerodynamic data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Droop |  |
| - Proportional gain, Kp (p.u.) |  |
| - Integrator time constant, Ti (sec) |  |
| - Output filter 1 time constant, T1 (sec) |  |
| - Output filter 2 time constant, T2 (sec) |  |
| - Power filter time constant, Tp (sec) |  |
| - Maximum output limit, Limmax |  |
| - Minimum output limit, Limmin |  |

| Generator Model | Insert equivalent standard model that represents the generator model User Written Model Other Standard Model Provide a block diagram suitable for stability studies or an IEEE standard model type with all in-service parameter values for the generator. |
| --- | --- |

| GENERATOR TRANSFORMER DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Substation Name |  |  |  | - Status |  |  |  |  |  |  |  |  |  |  |  |
| - Rated Capacity |  |  |  | - Model type |  |  |  |  |  |  |  |  |  |  |  |
| - Transformation Voltage (kV) |  |  |  | - Serial Number |  |  |  |  |  |  |  |  |  |  |  |
| - Vector Group |  |  |  | - Rated Frequency |  |  |  |  |  |  |  |  |  |  |  |
| - No. of Taps |  |  |  | - Power Factor |  |  |  |  |  |  |  |  |  |  |  |
| - % Adjust per Tap |  |  |  | - Voltage Ratio |  |  |  |  |  |  |  |  |  |  |  |
| - % Impedance at Rated load & Voltage |  |  |  | - Configuration (e.g. 3 Phase or Three Single Phase) |  |  |  |  |  |  |  |  |  |  |  |
| - Manufacturer |  |  |  | - Temperature Rise (ᵒC) |  |  |  |  |  |  |  |  |  |  |  |
| - Year of commissioning |  |  |  | - Connection for each winding H,X,Y (e.g. Wye, Delta, Zigzag) |  |  |  |  |  |  |  |  |  |  |  |
| - Positive Sequence Impedance | (See IEEE C57.12.90 for measurement techniques) | Positive Sequence Impedance (%) | HX |  |  |  | HY |  |  |  |  | XY |  |  |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Zero Sequence Impedance (Data is required for transformers with 1 or 2 external neutrals) | H winding energized all others open | Closed Tertiary | H |  |  | X |  |  | HX |  |  |  |  | XH |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | H winding energized X winding shorted | Open Tertiary | H |  |  | X |  |  | HX |  |  |  |  | XH |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | In-Service Off-Load Tap (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Off –Load Taps (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | On-Load Taps (kV) (Max Tap, Min Tap, Number of Steps) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Core and Excitation Losses (kW, kVAr) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| CHARACTERISTIC DATA |  |
| --- | --- |
| 1. Open circuit saturation curve | Attach File |
| 2. Short circuit curve | Attach File |
| 3. V curves | Attach File |
| 4. Reactive Power Capability curve | Attach File |
| 5. Ramping Capability Curve | Attach File |
| 6. Short Circuit and Open Circuit Characteristic Curve | Attach File |

| PLANT FLEXIBILITY PERFORMANCE DATA (FOR EACH GENERATING PLANTS) |  |
| --- | --- |
| - Rate of loading following weekend shutdown (Generating Unit and Generating Plant) |  |
| - Rate of loading following an overnight shutdown (Generating Unit and Generating Plant) |  |
| - Block Load following synchronization |  |
| - Rate of Load Reduction from normal rated MW |  |
| - Regulating range |  |
| - Load rejection capability while still synchronized and able to supply Load. |  |

| AUXILIARY DEMAND DATA |  |
| --- | --- |
| - Rated Normal unit-supplied auxiliary Load for each Generating Unit at rated MW output |  |
| - Each Generating Plant Auxiliary Load other than (a) above and where the station auxiliary Load is supplied from the Grid. |  |
| Please attach the following: |  |
| - Physical Layout |  |
| - Electrical Layout |  |
| - Specifications |  |
| - Protections |  |

CONNECTION SCHEME

Provide a single line diagram of the connection scheme showing the details of the main connection facilities: - NGCP facility where connection of power plant will be made - Length of the connection line including the type of conductor and structure used - MVA Rating of the transformers - MVAR Rating of Shunt Capacitors or Shunt Reactors, if any

C. SUBSTATION AND TRANSMISSION FACILITY

Line Information

| Line Name | Operating Voltage Level (kV) | Length (km) | Type of conductor |  | Actual Rating (MVA) |  |  |  | Year of Commissioning | Age (Year) | Connected Generator /Load |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | No. of Bundles | Conductor size |  | R | X | B |  |  |  |

Line Structure Information

| Number | Type | Coordinates |
| --- | --- | --- |

Power Circuit Breaker

| Substation Name | System Voltage (kV) | Type (Live Tank or Dead Tank) | Continuous Rating (A) | Breaker Interrupting Capacity (kA) | Manufacturer | Year of Commissioning | Age (Year) |
| --- | --- | --- | --- | --- | --- | --- | --- |

Reactive Compensation Equipment

| Substation Name | Rated Voltage (kV) | Rated Capacity (MVAr) | Manufacturer | Year of Commissioning | Age (year) | Status |
| --- | --- | --- | --- | --- | --- | --- |