LOAD SHEDDING AND CURTAILMENT PROCEDURES

- GENERAL PROCEDURE

- SYSTEM OPERATOR REQUIREMENTS

- For User implemented Under-frequency Load Shedding (UFLS) and Under-voltage Load Shedding (UVLS), the User shall prepare it UFLS/UVLS program in consultation with the System Operator.

- For NGCP implemented UFLS/UVLS, the User shall install Under-frequency and Under-voltage relays at the users end in consultation with the System Operator. Such requirement will form part of the Energization Request Form (ERF) subject to the approval of the System Operator.

- The System Operator can implement and Emergency Load Dropping (ELD) and Manual Load Dropping (MLD) at the point of connection of the user in order to secure the Grid from a system collapse.

- A System Integrity Protection Scheme (SIPS) will be required when the reliability and integrity of the Grid is at risk. During such case, the Generator will be required to reduce their output automatically, among other actions which will also be required depending on the gravity of the contingent event that is considered. For Load Customers, automatic disconnection of loads will also be required among other actions depending on the gravity of the contingent that is considered.