CRITICAL EVENTS LIST

List of significant operating events and conditions of which the Transmission Network Provider wishes to receive notice in the event of the occurrence or existence of any such events or conditions on the Transmission Customer’s Facilities:

- System Operator and Transmission Network Provider must receive the following during system disturbances or tripping of their generating units:

  - Reason of tripping;

  - Relay indications and targets;

  - Sequence of events;

  - Transient Records;

  - Root Cause Analysis;

  - Action taken or to be taken by the power plants to prevent recurrence; and

  - All information to be provided should have one common time reference (time sync).

List of significant operating events and conditions of which the Transmission Customer wishes to receive notice, in the event of the occurrence or existence of any such event or condition on the Grid: