CRITICAL EVENTS LIST

List of significant operating events and conditions of which the Transmission Network Provider wishes to receive notice in the event of the occurrence or existence of any such events or conditions on the Transmission Customer’s Facilities:

- System Operator and Transmission Network Provider must receive shutdown notice from load customers facilities that involves load isolation and/or load shifting seven (7) days prior to implementation.

List of significant operating events and conditions of which the Transmission Customer wishes to receive notice, in the event of the occurrence or existence of any such event or condition on the Grid: