REGISTERED EQUIPMENT DATA

CONVENTIONAL GENERATOR

A. BASIC INFORMATION

| GRID USER |  |
| --- | --- |
| 1. Power Plant Name |  |
| 2. Company Name |  |
| 3. Office Address |  |
| 4. Main Contact Person |  |
| 5. Position |  |
| 6. Contact Numbers |  |
| 7. Email Address |  |
| 8. Power Plant Location |  |
| - Street |  |
| - Sitio |  |
| - Barangay |  |
| - Province |  |
| - Location Map | Please attach a geographic map showing the coordinates of the power plant site. |

B. GENERATOR / MACHINE DATA

| STANDARD PLANNING DATA | VALUE |
| --- | --- |
| 1. In-Service Date (Commissioning) |  |
| 2. Manufacturer: |  |
| 3. Individual Plant Rated Capacity (MVA) |  |
| - Installed Capacity (MW) |  |
| - Dependable Capacity (MW) |  |
| - Derated Capacity (MW) on a monthly basis; |  |
| - Additional Capacity (MW) obtainable from Generating Units in Excess of Net Declared Capacity |  |
| - Rated Power Factor |  |
| - Stator Armature Resistance |  |
| 4. Number of Individual Generator Units (if composed of several machines) |  |
| 5. Frequency Withstand Capability (Hz) |  |
| 6. Rated Speed (rpm) |  |
| 7. Rated Terminal Voltage |  |
| 8. Type of Generating Unit and Expected Running Mode(s) |  |
| 9. Maximum and Minimum Ramp-Up Rate [MW/min] |  |
| 10. Maximum and Minimum Ramp-Down Rate [MW/min] |  |
| 11. Rated MVAR Output |  |
| 12. Short Circuit Ratio |  |
| 13. Minimum Stable Loading (Pmin) |  |
| 14. Maximum Stable Loading (Pmax) |  |

| DETAILED PLANNING DATA Check below the corresponding machine model. If other models are to be used, please provide corresponding Machine Data. |  |  |  |
| --- | --- | --- | --- |
| Generator | Exciter | Governor | Stabilizer |
| GENCLS GENROE GENROU GENSAE GENSAL Other Model: _______________ | EXAC1 EXAC1A EXST1 IEEET1 IEEEX1 SCRX SEXS Other Model: _________________ | GAST2A HYGOV IEEEG1 TGOV1 Other Model: _________________ | IEEEST STAB1 STAB2A STAB3 Other Model: _________________ |

| GENERATING UNIT PARAMETERS From the above-checked generator model, fill-out the corresponding machine data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |  |
| --- | --- | --- |
| - Direct Axis Open Circuit Transient Time Constant, T’ do (>0) (sec) |  |  |
| - Direct Axis Open Circuit Subtransient Time Constant, T” do (>0) (sec) |  |  |
| - Quadrature Axis Open Circuit Transient Time Constant, T’qo (>0) (sec) |  |  |
| - Quadrature Axis Open Circuit Subtransient Time Constant, T”qo (>0) (sec) |  |  |
| - Rotational Inertia, H |  |  |
| - Speed Damping, D |  |  |
| - Direct Axis Synchronous Reactance (Unsaturated), Xd |  |  |
| - Quadrature Axis Synchronous Reactance, Xq |  |  |
| - Direct Axis Transient Reactance (Unsaturated), X’d |  |  |
| - Quadrature Axis Transient Reactance (Unsaturated), X’q |  |  |
| - Direct Axis Subtransient Reactance (Unsaturated) X”d |  |  |
| - Quadrature Axis Subtransient Reactance (unsaturated), X”q, |  |  |
| - Armature Leakage Reactance, Xl |  |  |
| - Saturation at Rated Voltage, S(1.0) |  |  |
| - Saturation at Rated Voltage at 20% Above, S(1.2) |  |  |
| - Acceleration Factor, AF |  |  |
| - Negative Sequence Reactance (Saturated), X2v |  |  |
| - Zero Sequence Reactance (Saturated), X0V |  |  |
| - Short Circuit Time Constant, Ta3 |  |  |
| - Armature Resistance Ra (Ohms) and Field Resistance Rfd (Ohms) |  |  |
| - Base Field Current (A) |  |  |
| - Base Field Voltage (Volts) |  |  |
| - Rotational Inertia for Generator Without Turbine(s) |  |  |
| - Losses at 1.0 and 0.9 Power factor (MW) |  |  |

| EXCITATION CONTROL SYSTEM From the above-checked exciter model, fill-out the corresponding exciter data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Voltage Transducer Time Constant, TR (sec) |  |
| - Proportional Gain, Kp |  |
| - Integral (Reset) Gain, Kl |  |
| - Gain, KA |  |
| - KB |  |
| - KL |  |
| - KH |  |
| - KLV |  |
| - KR (>0) |  |
| - First Stabilizer Gain, KS1 |  |
| - Second Stabilizer Gain, KS2 |  |
| - KN |  |
| - KPR |  |
| - KIR |  |
| - EFDN |  |
| - EFDMAX |  |
| - Minimum Open Circuit Excitation Voltage, EFDMIN (p.u.) |  |
| - Bridge Time Constant, TA (sec) |  |
| - Lag Time Constant, TB (sec) |  |
| - Lead Time Constant, TC (sec) |  |
| - TA1 (sec) |  |
| - TA2 (sec) |  |
| - TA3 (sec) |  |
| - TA4 (sec) |  |
| - VAMAX |  |
| - VAMIN |  |
| - VLR |  |
| - VLV |  |
| - VFELIM |  |
| - Current Controller Gain, VPI |  |
| - Voltage Controller Proportional Gain, VPU |  |
| - Controller Follow-Up Gain, VPNF (p.u.) |  |
| - Controller Follow-Up Dead Band, DPNF (p.u.) |  |
| - Voltage Transducer Time Constant, TFV>0 (sec) |  |
| - Current Transducer Time Constant, TFI>0 (sec) |  |
| - Controller Reset Time Constant, TNU>0 (sec) |  |
| - VIMIN |  |
| - VIMAX |  |
| - Maximum Control Output, VRMAX (p.u.) |  |
| - Minimum Control Output, VRMIN (p.u.) |  |
| - VGMAX |  |
| - Rate Feedback Gain, KF |  |
| - Rate Feedback Time Constant, TF (>0) (sec) |  |
| - Feedback Lead Time Constant, TF1 (sec) |  |
| - Feedback Lag Time Constant, TF2 (sec) |  |
| - TH (sec) |  |
| - TJ (sec) |  |
| - First Stabilizer Time Constant, TS1>0 (sec) |  |
| - Second Stabilizer Feedback Time Constant, TS2>0 (sec) |  |
| - Exciter Field Proportional Constant, KE |  |
| - Exciter Field Time Constant, TE (>0) (sec) |  |
| - Stabilizer Feedback Time Constant, TW>0 (sec) |  |
| - Stabilizer Limit, SMAX>0 (p.u.) |  |
| - Excitation Transformer Effective Reactance (p.u.), XE>0 |  |
| - Rectifier Regulation Factor, KC (p.u.) |  |
| - Exciter Regulation Factor, KD (p.u.) |  |
| - Exciter Flux at Knee of Curve, E1 (p.u.) |  |
| - Saturation Factor at knee Curve, SE(E1) |  |
| - Maximum Exciter Flux, E2 (p.u.) |  |
| - Saturation Factor at Maximum Exciter Flux SE(E2) (p.u.) |  |
| - Switch |  |
| - Ɵp (degrees) |  |

| SYSTEM-GOVERNING PARAMETERS From the above-checked governor model, fill-out the corresponding machine data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - Governor Gain (1/Droop) (on Turbine Rating), W |  |
| - Governor Lead Time Constant, X (sec) |  |
| - Governor Lag Time Constant, Y (sec) |  |
| - Governor Mode: (1) Droop (0) ISO, Z |  |
| - ETD (sec) |  |
| - TCD (sec) |  |
| - Turbine Rating (MW), TRATE |  |
| - T (sec) |  |
| - MAX (p.u.) Limit (on Turbine Rating) |  |
| - MIN (p.u.) Limit (on Turbine Rating) |  |
| - ECR (sec) |  |
| - Fraction, K3 |  |
| - Valve Positioner, a (>0) |  |
| - Valve Positioner, b (sec) (>0) |  |
| - Valve Positioner, c |  |
| - Ʈf (sec) (>0) |  |
| - Kf |  |
| - K5 |  |
| - K4 |  |
| - T3 (sec) (>0) |  |
| - T4 (sec) (>0) |  |
| - Ʈ f (>0) |  |
| - T5 (sec) (>0) |  |
| - af1 |  |
| - Permanent Droop, R |  |
| - Temporary Droop, r |  |
| - Governor Time Constant, Tr (>0) |  |
| - Filter Time Constant, Tf (>0) |  |
| - Servo Time Constant, Tg (>0) |  |
| - Gate Velocity Limit, + VELM |  |
| - Maximum Gate Limit, GMAX |  |
| - Minimum Gate Limit, GMIN |  |
| - Water Time Constant, TW (>0) |  |
| - Turbine Gain, At |  |
| - Turbine Damping, Dturb |  |
| - No Power Flow, qNL |  |
| - K |  |
| - T1 (sec) |  |
| - T2 (sec) |  |
| - T3 (>0) (sec) |  |
| - Opening Gate Rate Limit, Uo (p.u. per sec) |  |
| - Closing Gate Rate Limit, Uc (p.u. per sec) (<0) |  |
| - P.u. on Machine MVA rating, PMAX |  |
| - P.u. on machine MVA rating, PMIN |  |
| - K1 |  |
| - K2 |  |
| - T5 (sec) |  |
| - K3 |  |
| - K4 |  |
| - T6 (sec) |  |
| - K5 |  |
| - K6 |  |
| - T7 (sec) |  |
| - K7 |  |
| - K8 |  |
| - R |  |
| - VMAX 1 |  |
| - VMIN 1 |  |
| - T2 (sec)2 |  |
| - T3 (>0) (sec)2 |  |
| - Dt1 |  |

| STABILIZER DATA PARAMETERS From the above-checked stabilizer model, fill-out the corresponding machine data as applicable. Please provide per unit value. Put n.a. if not applicable. | VALUE |
| --- | --- |
| - A1 |  |
| - A2 |  |
| - A3 |  |
| - A4 |  |
| - A5 |  |
| - A6 |  |
| - T1 (sec) |  |
| - T2 (sec) |  |
| - T3 (sec) |  |
| - T4 (sec) |  |
| - T5 (sec) |  |
| - T6 (sec) |  |
| - KS |  |
| - LSMAX |  |
| - LSMIN |  |
| - VCU (p.u.) (if equal to zero, ignored) |  |
| - VCL (p.u.) (if equal to zero, ignored) |  |
| - K/T (sec)-1 |  |
| - T(sec) (>0) |  |
| - T1/T3 |  |
| - T3 (sec) (>0) |  |
| - T2/T4 |  |
| - T4 (sec) (>0) |  |
| - HLIM |  |
| - K2 |  |
| - T2 (sec) (>0) |  |
| - K3 |  |
| - K4 |  |
| - K5 |  |
| - T5 (sec) (>0) |  |
| - Tt (sec) |  |
| - Tx1 (sec) (>0) |  |
| - Tx2 (sec) (>0) |  |
| - KX |  |
| - VLIM |  |

| GENERATOR TRANSFORMER DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Substation Name |  |  |  | - Status |  |  |  |  |  |  |  |  |  |  |  |  |
| - Rated Capacity |  |  |  | - Model type |  |  |  |  |  |  |  |  |  |  |  |  |
| - Transformation Voltage (kV) |  |  |  | - Serial Number |  |  |  |  |  |  |  |  |  |  |  |  |
| - Vector Group |  |  |  | - Rated Frequency |  |  |  |  |  |  |  |  |  |  |  |  |
| - No. of Taps |  |  |  | - Power Factor |  |  |  |  |  |  |  |  |  |  |  |  |
| - % Adjust per Tap |  |  |  | - Voltage Ratio |  |  |  |  |  |  |  |  |  |  |  |  |
| - % Impedance at Rated load & Voltage |  |  |  | - Configuration (e.g. 3 Phase or Three Single Phase) |  |  |  |  |  |  |  |  |  |  |  |  |
| - Manufacturer |  |  |  | - Temperature Rise (ᵒC) |  |  |  |  |  |  |  |  |  |  |  |  |
| - Year of commissioning |  |  |  | - Connection for each winding H,X,Y (e.g. Wye, Delta, Zigzag) |  |  |  |  |  |  |  |  |  |  |  |  |
| - Positive Sequence Impedance | (See IEEE C57.12.90 for measurement techniques) | Positive Sequence Impedance (%) | HX |  |  |  | HY |  |  |  |  |  | XY |  |  |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Zero Sequence Impedance (Data is required for transformers with 1 or 2 external neutrals) | H winding energized all others open | Closed Tertiary | H |  |  | X |  |  | HX |  |  |  |  |  | XH |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | H winding energized X winding shorted | Open Tertiary | H |  |  | X |  |  | HX |  |  |  |  |  | XH |  |
|  |  | R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Base MVA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | In-Service Off-Load Tap (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Off –Load Taps (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | On-Load Taps (kV) (Max Tap, Min Tap, Number of Steps) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Core and Excitation Losses (kW, kVAr) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| CHARACTERISTIC DATA |  |
| --- | --- |
| 1. Open Circuit Saturation Curve | Attach File |
| 2. Short Circuit Curve | Attach File |
| 3. V Curve | Attach File |
| 4. Reactive Power Capability curve | Attach File |
| 5. Ramping Capability Curve | Attach File |

| PLANT FLEXIBILITY PERFORMANCE DATA (FOR EACH GENERATING PLANTS) |  |
| --- | --- |
| - Rate of Loading Following Weekend Shutdown (Generating Unit and Generating Plant) |  |
| - Rate of Loading Following an Overnight Shutdown (Generating Unit and Generating Plant) |  |
| - Block Load Following Synchronization |  |
| - Rate of Load Reduction from Normal Rated MW |  |
| - Regulating Range |  |
| - Load Rejection Capability while still Synchronized and able to Supply Load. |  |

| AUXILIARY DEMAND DATA |  |
| --- | --- |
| - Rated Normal Unit-Supplied Auxiliary Load for Each Generating Unit at Rated MW Output |  |
| - Each Generating Plant Auxiliary Load other than (a) above and where the Station Auxiliary Load is supplied from the Grid. |  |
| Please attach the following: |  |
| - Physical Layout |  |
| - Electrical Layout |  |
| - Specifications |  |
| - Protections |  |

CONNECTION SCHEME

Provide a single line diagram of the connection scheme showing the details of the main connection facilities: - NGCP facility where the connection of power plant will be made - Length of the connection line including the type of conductor and structure used - MVA Rating of the transformers - MVAR Rating of Shunt Capacitors or Shunt Reactors, if any

C. SUBSTATION AND TRANSMISSION FACILITY

Line Information

| Line Name | Operating Voltage Level (kV) | Length (km) | Type of conductor |  | Actual Rating (MVA) |  |  |  | Year of Commissioning | Age (Year) | Connected Generator /Load |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | No. of Bundles | Conductor size |  | R | X | B |  |  |  |

Line Structure Information

| Number | Type | Coordinates |
| --- | --- | --- |

Power Circuit Breaker

| Substation Name | System Voltage (kV) | Type (Live Tank or Dead Tank) | Continuous Rating (A) | Breaker Interrupting Capacity (kA) | Manufacturer | Year of Commissioning | Age (Year) |
| --- | --- | --- | --- | --- | --- | --- | --- |

Reactive Compensation Equipment

| Substation Name | Rated Voltage (kV) | Rated Capacity (MVAr) | Manufacturer | Year of Commissioning | Age (year) | Status |
| --- | --- | --- | --- | --- | --- | --- |